## Historia
Versio | Muokannut | Note
1.0 | LN | Eka draft
1.1 | SS | Samuli muokannut graafit visuaalisesti

## Summary
PARAMETER | LED | LED + LENS | UNIT
comment | NVSW219FT-V2E 4000K | Nichia NVSW219FT-V2E 4000K + C19175 | -
integral sensor value | 538.33 | 398.28 | lm
CCT | 3835.8 | 2241.2 | K
x | 0.3888 | 0.5332 | -
y | 0.3843 | 0.4621 | -
delta uv | 0.0012 | 0.014 | -
CRI: Ra | 73.094 | 44.58 | -
Total power (380 - 780 nm) | 1.5353 | 1.0062 | W
Power (380 - 500 nm) | 0.29572 | 0.0035404 | W
Amount of blue light (380 - 500 nm) | 19.2611 | 0.35185 | %
Lens efficiency (from integral sensor value) | - | 73.9844 | %

## Meas data
samplenumber | 1 | 9
measurement quantity | Phi | Phi
distance | -1 | -1
operator name
date | 29/08/2023 | 25/08/2023
time | 16.46.54 | 16.40.41
scriptfile
measurement status | ok | ok
comment | NVSW219FT-V2E 4000K | Nichia NVSW219FT-V2E 4000K + C19175
dll version | 2023.1.0 | 2023.1.0
software version | 2023.1.1 | 2023.1.1
config type | Sphere Luminous Flux 4Pi (lm) | Sphere Luminous Flux 4Pi (lm)
integral integration time /ms | 50 | 50
spectral integration time /ms | 1000 | 1500
integral range | 0 | 0
spectral ranging
number of scans | 1 | 1
darkmode | dynamic | dynamic
selfabsorbtion correction (lamp) | 1.1982 | 1.2273
sac filename (lamp) | Z:\Engineering\Lab Queue\Laitteet\Mittapallo - NEW spectrum\Sphere DUT absorbtion - 2X2 AMBER setup - white demo plate\empty sphere VS white 2x2 demo plate with Osconic S 5050 2x2 pcb.gsc | Z:\Engineering\Lab Queue\Laitteet\Mittapallo - NEW spectrum\Sphere DUT absorbtion - 2X2 AMBER setup - white demo plate\empty sphere VS white 2x2 demo plate with DC 5050 6V 2x2 pcb and AMBER C19175 lens.gsc
sac filename (geo)
bandwidth correction | on | on
scale array by diode | on | on
observer | 2° | 2°
serial number | 62083 | 62083
firmware | 1.09 | 1.09
integral sensor quantity | Phi | Phi
integral sensor value | 538.33 | 398.28
integral sensor unit | lm | lm
integral sensor a* | 1.0065 | 1.0052
array scaling factor | -9999 | -9999
CCT | 3835.8 | 2241.2
X | 0.79739 | 0.67282
Y | 0.78818 | 0.58313
Z | 0.46525 | 0.0058706
x | 0.3888 | 0.5332
y | 0.3843 | 0.4621
u' | 0.2276 | 0.2852
v' | 0.5061 | 0.5561
purity | -9999 | -9999
dominant wavelength | 579.1 | 583.5
delta uv | 0.0012 | 0.014
CRI: Ra | 73.094 | 44.58
R1 | 70.844 | 36.644
R2 | 79.311 | 62.884
R3 | 86.137 | 80.833
R4 | 73.125 | 26.024
R5 | 70.164 | 28.379
R6 | 70.94 | 39.491
R7 | 81.15 | 69.931
R8 | 53.085 | 12.454
R9 | -26.372 | -97.08
R10 | 50.79 | 16.653
R11 | 69.719 | -3.9626
R12 | 42.581 | -15.168
R13 | 72.1 | 38.597
R14 | 91.937 | 89.157
R15 | 63.359 | 31.531
lambda from /nm | 360 | 360
lambda to /nm | 830 | 830
stepwidth /nm | 1 | 1
peak wavelength | 449 | 591.7
peak power | 0.010951 | 0.0096974
spectral unit | (W)/nm | (W)/nm
FWHM | 18.5 | 97.3
center wavelength | 448.2 | 594.6
centroid wavelength | 562.8 | 604.3
wavelength /nm | intensity /(W)/nm | intensity /(W)/nm
360 | 9.2229e-05 | 5.1016e-05
361 | 4.8041e-06 | 0
362 | 5.0807e-05 | 0
363 | 0.00010166 | 6.2173e-06
364 | 0.0001848 | 5.384e-05
365 | 0.00024762 | 9.3698e-05
366 | 0.00020107 | 9.1761e-05
367 | 0.0001585 | 9.2215e-05
368 | 0.0001337 | 0.00010336
369 | 0.00011344 | 0.00011155
370 | 0.00011033 | 0.0001085
371 | 0.00010718 | 9.9478e-05
372 | 0.00010386 | 7.0956e-05
373 | 0.00010063 | 4.9478e-05
374 | 9.7659e-05 | 4.8018e-05
375 | 0.00010316 | 4.017e-05
376 | 0.00012983 | 1.6377e-05
377 | 0.00014225 | 0
378 | 0.00012325 | 0
379 | 0.00010053 | 9.7149e-06
380 | 7.0532e-05 | 3.8521e-05
381 | 5.0822e-05 | 5.6224e-05
382 | 4.9192e-05 | 5.4421e-05
383 | 5.6534e-05 | 5.5974e-05
384 | 7.8011e-05 | 6.2814e-05
385 | 8.0537e-05 | 6.5965e-05
386 | 5.6183e-05 | 6.3882e-05
387 | 4.6437e-05 | 5.5351e-05
388 | 5.5375e-05 | 3.8574e-05
389 | 6.3881e-05 | 2.9215e-05
390 | 7.1887e-05 | 2.8422e-05
391 | 7.9413e-05 | 3.0926e-05
392 | 8.6438e-05 | 3.6872e-05
393 | 8.4382e-05 | 2.9406e-05
394 | 7.3751e-05 | 9.2745e-06
395 | 7.7251e-05 | 1.0029e-05
396 | 9.282e-05 | 2.8626e-05
397 | 9.8591e-05 | 3.6357e-05
398 | 9.6791e-05 | 3.5693e-05
399 | 8.5896e-05 | 2.4857e-05
400 | 6.8657e-05 | 6.9249e-06
401 | 6.6096e-05 | 6.8922e-06
402 | 7.277e-05 | 1.812e-05
403 | 7.918e-05 | 2.5446e-05
404 | 8.5443e-05 | 3.0563e-05
405 | 0.00010088 | 3.195e-05
406 | 0.00012098 | 3.1444e-05
407 | 0.000126 | 2.7449e-05
408 | 0.00012417 | 2.187e-05
409 | 0.00013208 | 2.0068e-05
410 | 0.00014393 | 1.9792e-05
411 | 0.00016517 | 1.954e-05
412 | 0.00018976 | 1.9297e-05
413 | 0.0002089 | 2.6351e-05
414 | 0.00022632 | 3.5698e-05
415 | 0.00026299 | 3.3727e-05
416 | 0.00030492 | 2.866e-05
417 | 0.00035144 | 2.3802e-05
418 | 0.00039904 | 1.8992e-05
419 | 0.00046632 | 1.809e-05
420 | 0.00053753 | 1.797e-05
421 | 0.00063961 | 2.5555e-05
422 | 0.00074683 | 3.4421e-05
423 | 0.00087431 | 3.5322e-05
424 | 0.0010045 | 3.5153e-05
425 | 0.0011736 | 2.7007e-05
426 | 0.0013467 | 1.8027e-05
427 | 0.0015481 | 1.7255e-05
428 | 0.0017516 | 1.7109e-05
429 | 0.0020037 | 2.1216e-05
430 | 0.0022582 | 2.5534e-05
431 | 0.0025617 | 2.5481e-05
432 | 0.0028664 | 2.5323e-05
433 | 0.0031796 | 2.092e-05
434 | 0.0034946 | 1.6621e-05
435 | 0.0038809 | 1.6583e-05
436 | 0.0042677 | 1.6923e-05
437 | 0.0046655 | 2.4911e-05
438 | 0.0050703 | 3.2325e-05
439 | 0.005566 | 3.2187e-05
440 | 0.006075 | 3.2045e-05
441 | 0.0067127 | 3.1861e-05
442 | 0.0073524 | 3.1215e-05
443 | 0.0080073 | 2.7091e-05
444 | 0.0086661 | 2.2974e-05
445 | 0.0093488 | 1.8896e-05
446 | 0.01 | 1.6091e-05
447 | 0.010491 | 1.9804e-05
448 | 0.0109 | 2.3533e-05
449 | 0.010951 | 2.7329e-05
450 | 0.010904 | 2.95e-05
451 | 0.010486 | 2.5528e-05
452 | 0.0099884 | 2.4156e-05
453 | 0.0092303 | 3.1377e-05
454 | 0.0084386 | 3.4795e-05
455 | 0.007549 | 2.7101e-05
456 | 0.0066837 | 2.1487e-05
457 | 0.0058817 | 2.1283e-05
458 | 0.005142 | 2.2141e-05
459 | 0.0045475 | 2.5473e-05
460 | 0.0040321 | 2.6497e-05
461 | 0.0036827 | 2.2685e-05
462 | 0.0033747 | 2.0109e-05
463 | 0.0031453 | 1.9874e-05
464 | 0.0029305 | 2.203e-05
465 | 0.0027406 | 2.8295e-05
466 | 0.0025608 | 3.1933e-05
467 | 0.0023966 | 3.1466e-05
468 | 0.0022356 | 3.1035e-05
469 | 0.0020791 | 3.0654e-05
470 | 0.0019205 | 2.8965e-05
471 | 0.0017591 | 2.5575e-05
472 | 0.0016157 | 2.225e-05
473 | 0.0014935 | 1.9e-05
474 | 0.0013904 | 1.864e-05
475 | 0.0013081 | 2.1426e-05
476 | 0.0012421 | 2.4123e-05
477 | 0.0011924 | 2.6732e-05
478 | 0.0011489 | 2.9263e-05
479 | 0.001111 | 3.1723e-05
480 | 0.0010907 | 2.9742e-05
481 | 0.0010851 | 2.405e-05
482 | 0.0010844 | 2.455e-05
483 | 0.0010873 | 2.9787e-05
484 | 0.0010939 | 3.1755e-05
485 | 0.0011029 | 3.1433e-05
486 | 0.0011134 | 2.7992e-05
487 | 0.0011248 | 2.2553e-05
488 | 0.001157 | 2.5313e-05
489 | 0.0012012 | 3.2859e-05
490 | 0.0012552 | 3.6954e-05
491 | 0.0013144 | 3.9213e-05
492 | 0.0013912 | 3.8081e-05
493 | 0.0014765 | 3.531e-05
494 | 0.0015826 | 3.7747e-05
495 | 0.0016977 | 4.2464e-05
496 | 0.0018206 | 4.5302e-05
497 | 0.0019464 | 4.7397e-05
498 | 0.0020984 | 5.1414e-05
499 | 0.0022597 | 5.6113e-05
500 | 0.0024328 | 6.2449e-05
501 | 0.0026097 | 6.9304e-05
502 | 0.002796 | 7.6267e-05
503 | 0.0029849 | 8.326e-05
504 | 0.0031759 | 9.0118e-05
505 | 0.0033673 | 9.6942e-05
506 | 0.0035656 | 0.00010769
507 | 0.0037655 | 0.0001193
508 | 0.0039655 | 0.00012887
509 | 0.0041654 | 0.00013807
510 | 0.0043536 | 0.00014915
511 | 0.0045398 | 0.00016054
512 | 0.0047239 | 0.00018033
513 | 0.0049077 | 0.00020123
514 | 0.0050836 | 0.00022452
515 | 0.0052586 | 0.00024806
516 | 0.0054274 | 0.00027007
517 | 0.0055957 | 0.00029196
518 | 0.0057642 | 0.00032417
519 | 0.0059328 | 0.00035697
520 | 0.0060545 | 0.00040119
521 | 0.0061745 | 0.00044581
522 | 0.0062898 | 0.00050585
523 | 0.0064048 | 0.00056614
524 | 0.0065016 | 0.00063118
525 | 0.0065978 | 0.00069681
526 | 0.0066768 | 0.00078376
527 | 0.0067557 | 0.00087225
528 | 0.0068322 | 0.00099188
529 | 0.0069076 | 0.0011127
530 | 0.0069667 | 0.0012504
531 | 0.0070259 | 0.0013902
532 | 0.0070872 | 0.0015527
533 | 0.0071454 | 0.001719
534 | 0.007178 | 0.0019173
535 | 0.0072128 | 0.0021198
536 | 0.0072625 | 0.0023502
537 | 0.0073139 | 0.0025825
538 | 0.0073743 | 0.0028254
539 | 0.0074297 | 0.00307
540 | 0.0074597 | 0.0033231
541 | 0.0074909 | 0.0035776
542 | 0.0075274 | 0.0038388
543 | 0.0075625 | 0.0040989
544 | 0.0075921 | 0.0043545
545 | 0.0076284 | 0.0046087
546 | 0.0076882 | 0.0048583
547 | 0.0077427 | 0.0051043
548 | 0.0077812 | 0.0053395
549 | 0.0078194 | 0.00557
550 | 0.007857 | 0.0057874
551 | 0.007897 | 0.0059989
552 | 0.0079431 | 0.0061955
553 | 0.0079885 | 0.0063882
554 | 0.008032 | 0.006572
555 | 0.0080827 | 0.0067527
556 | 0.008149 | 0.006927
557 | 0.0082056 | 0.0070919
558 | 0.0082432 | 0.0072383
559 | 0.0082914 | 0.0073781
560 | 0.0083586 | 0.0075063
561 | 0.0084261 | 0.0076414
562 | 0.0084942 | 0.0077883
563 | 0.0085544 | 0.0079184
564 | 0.0086026 | 0.0080232
565 | 0.0086612 | 0.0081298
566 | 0.0087346 | 0.0082389
567 | 0.0088076 | 0.0083479
568 | 0.0088801 | 0.0084569
569 | 0.008941 | 0.0085614
570 | 0.0089878 | 0.0086603
571 | 0.0090454 | 0.0087512
572 | 0.0091151 | 0.0088332
573 | 0.0091825 | 0.0089164
574 | 0.0092475 | 0.0090009
575 | 0.0093013 | 0.0090816
576 | 0.0093441 | 0.0091588
577 | 0.0093994 | 0.0092309
578 | 0.009466 | 0.0092986
579 | 0.0095198 | 0.0093576
580 | 0.0095628 | 0.0094093
581 | 0.0096045 | 0.0094621
582 | 0.0096452 | 0.0095158
583 | 0.009672 | 0.009559
584 | 0.0096887 | 0.0095947
585 | 0.0097067 | 0.0096218
586 | 0.0097255 | 0.0096432
587 | 0.0097346 | 0.0096517
588 | 0.0097377 | 0.0096522
589 | 0.0097482 | 0.0096641
590 | 0.009763 | 0.0096826
591 | 0.0097598 | 0.0096931
592 | 0.0097469 | 0.0096992
593 | 0.0097141 | 0.0096872
594 | 0.0096715 | 0.0096662
595 | 0.0096495 | 0.009645
596 | 0.009637 | 0.0096237
597 | 0.0096134 | 0.0095877
598 | 0.0095851 | 0.0095456
599 | 0.0095338 | 0.0095043
600 | 0.0094735 | 0.0094634
601 | 0.0094183 | 0.0094022
602 | 0.009365 | 0.0093337
603 | 0.0092998 | 0.0092737
604 | 0.0092309 | 0.0092164
605 | 0.0091569 | 0.0091513
606 | 0.0090813 | 0.0090839
607 | 0.0089983 | 0.0090033
608 | 0.0089132 | 0.0089192
609 | 0.0088286 | 0.0088284
610 | 0.008744 | 0.008736
611 | 0.0086405 | 0.0086399
612 | 0.0085328 | 0.0085431
613 | 0.0084238 | 0.0084455
614 | 0.0083146 | 0.0083478
615 | 0.0082172 | 0.0082375
616 | 0.0081217 | 0.0081252
617 | 0.0080021 | 0.0080201
618 | 0.0078791 | 0.007916
619 | 0.0077536 | 0.007794
620 | 0.0076277 | 0.0076697
621 | 0.0075125 | 0.0075491
622 | 0.0073984 | 0.0074289
623 | 0.0072929 | 0.0073117
624 | 0.0071882 | 0.0071948
625 | 0.0070594 | 0.0070792
626 | 0.0069292 | 0.0069636
627 | 0.0068064 | 0.0068374
628 | 0.0066839 | 0.0067106
629 | 0.0065533 | 0.0065772
630 | 0.0064225 | 0.0064436
631 | 0.0062894 | 0.0063164
632 | 0.0061563 | 0.0061893
633 | 0.0060216 | 0.0060592
634 | 0.0058869 | 0.0059295
635 | 0.0057551 | 0.0058135
636 | 0.0056244 | 0.0056973
637 | 0.0055223 | 0.0055766
638 | 0.0054195 | 0.0054566
639 | 0.0053031 | 0.0053473
640 | 0.0051868 | 0.0052372
641 | 0.0050711 | 0.0051166
642 | 0.0049555 | 0.0049967
643 | 0.0048426 | 0.0048846
644 | 0.0047294 | 0.0047729
645 | 0.0046137 | 0.004664
646 | 0.0044995 | 0.0045557
647 | 0.0043966 | 0.0044522
648 | 0.0042922 | 0.0043481
649 | 0.0041775 | 0.0042404
650 | 0.0040648 | 0.0041331
651 | 0.0039636 | 0.0040287
652 | 0.0038637 | 0.003925
653 | 0.0037699 | 0.0038255
654 | 0.0036751 | 0.0037264
655 | 0.0035757 | 0.0036296
656 | 0.0034768 | 0.0035323
657 | 0.0033797 | 0.0034328
658 | 0.0032849 | 0.0033352
659 | 0.0031982 | 0.0032446
660 | 0.0031071 | 0.0031546
661 | 0.0030004 | 0.0030664
662 | 0.0029045 | 0.0029808
663 | 0.0028423 | 0.0029033
664 | 0.0027749 | 0.0028223
665 | 0.0026924 | 0.002731
666 | 0.0026115 | 0.002645
667 | 0.0025353 | 0.0025737
668 | 0.0024618 | 0.0025079
669 | 0.0023952 | 0.002456
670 | 0.0023295 | 0.0023981
671 | 0.0022662 | 0.0023262
672 | 0.0021991 | 0.0022574
673 | 0.0021238 | 0.002195
674 | 0.002056 | 0.0021336
675 | 0.0020035 | 0.0020743
676 | 0.001953 | 0.0020131
677 | 0.0019065 | 0.0019486
678 | 0.001849 | 0.0018873
679 | 0.0017722 | 0.0018317
680 | 0.0017044 | 0.001776
681 | 0.0016516 | 0.0017202
682 | 0.0016022 | 0.0016657
683 | 0.0015583 | 0.0016133
684 | 0.0015177 | 0.0015625
685 | 0.0014818 | 0.001514
686 | 0.0014408 | 0.0014737
687 | 0.0013924 | 0.0014448
688 | 0.0013501 | 0.00141
689 | 0.0013159 | 0.0013674
690 | 0.0012768 | 0.0013323
691 | 0.0012315 | 0.0013068
692 | 0.0012021 | 0.0012714
693 | 0.0011914 | 0.0012243
694 | 0.0011573 | 0.0011909
695 | 0.001097 | 0.0011726
696 | 0.0010523 | 0.0011456
697 | 0.001024 | 0.0011094
698 | 0.0010061 | 0.0010708
699 | 0.00099855 | 0.0010299
700 | 0.00097821 | 0.00099451
701 | 0.00094571 | 0.00096442
702 | 0.00090859 | 0.0009349
703 | 0.00086731 | 0.00090589
704 | 0.00083207 | 0.00088492
705 | 0.00080198 | 0.00087078
706 | 0.00077341 | 0.00084655
707 | 0.00074607 | 0.0008142
708 | 0.00073014 | 0.00078608
709 | 0.0007229 | 0.00076116
710 | 0.00070992 | 0.00074512
711 | 0.00069279 | 0.00073549
712 | 0.00066429 | 0.0007138
713 | 0.00062801 | 0.00068388
714 | 0.0006042 | 0.00065762
715 | 0.00058845 | 0.00063374
716 | 0.00058493 | 0.00062274
717 | 0.00058887 | 0.00061962
718 | 0.00057338 | 0.00060755
719 | 0.00054665 | 0.0005903
720 | 0.00051863 | 0.00057259
721 | 0.00048992 | 0.00055462
722 | 0.00046821 | 0.00054116
723 | 0.00045011 | 0.00053004
724 | 0.00045391 | 0.00050407
725 | 0.00046839 | 0.00047086
726 | 0.00044571 | 0.00045316
727 | 0.00040593 | 0.0004426
728 | 0.00039648 | 0.00043659
729 | 0.00040019 | 0.00043256
730 | 0.00039573 | 0.00042872
731 | 0.00038794 | 0.00042495
732 | 0.00038887 | 0.00040351
733 | 0.00039313 | 0.0003753
734 | 0.00037015 | 0.00036415
735 | 0.00033737 | 0.00035915
736 | 0.0003131 | 0.00035972
737 | 0.0002917 | 0.00036217
738 | 0.00028821 | 0.0003585
739 | 0.00029038 | 0.0003529
740 | 0.00030213 | 0.00034701
741 | 0.00031669 | 0.00034103
742 | 0.00030211 | 0.00032143
743 | 0.00027951 | 0.00029808
744 | 0.00025606 | 0.00028086
745 | 0.0002324 | 0.00026522
746 | 0.00021894 | 0.00025698
747 | 0.0002079 | 0.0002505
748 | 0.00022894 | 0.00025842
749 | 0.000257 | 0.0002695
750 | 0.00024122 | 0.00025009
751 | 0.0002166 | 0.00022453
752 | 0.00020277 | 0.00022214
753 | 0.00019094 | 0.00022403
754 | 0.00019113 | 0.00022622
755 | 0.00019335 | 0.00022847
756 | 0.00018307 | 0.00021397
757 | 0.00017087 | 0.0001969
758 | 0.00015834 | 0.00018822
759 | 0.00014576 | 0.00018069
760 | 0.00017264 | 0.00019117
761 | 0.00020438 | 0.00020385
762 | 0.00019585 | 0.00019766
763 | 0.00018293 | 0.00018942
764 | 0.00015531 | 0.00019064
765 | 0.00012628 | 0.00019276
766 | 0.0001552 | 0.00017467
767 | 0.00018884 | 0.00015493
768 | 0.00014696 | 0.00014499
769 | 9.9913e-05 | 0.00013572
770 | 0.00011445 | 0.00015832
771 | 0.00013244 | 0.0001827
772 | 0.000118 | 0.00017404
773 | 0.00010213 | 0.00016393
774 | 0.00010242 | 0.00015325
775 | 0.00010323 | 0.00014254
776 | 0.00013872 | 0.00013172
777 | 0.00017492 | 0.00012091
778 | 0.00015928 | 0.00012209
779 | 0.00014312 | 0.0001234
780 | 0.00010779 | 0.00013725
781 | 7.2904e-05 | 0.00015095
782 | 7.369e-05 | 0.00015242
783 | 7.3602e-05 | 0.0001533
784 | 3.6175e-05 | 0.00012899
785 | 1.9649e-06 | 0.00010554
786 | 6.071e-05 | 0.00010663
787 | 0.0001143 | 0.00010832
788 | 5.5554e-05 | 0.00012319
789 | 0 | 0.0001358
790 | 0 | 0.00010906
791 | 4.0457e-06 | 8.4107e-05
792 | 6.6697e-05 | 8.5021e-05
793 | 0.00012476 | 8.5951e-05
794 | 0.00012618 | 8.7073e-05
795 | 0.00012761 | 8.9473e-05
796 | 0.0001293 | 0.00010561
797 | 0.00012881 | 0.00011446
798 | 0.00010766 | 5.405e-05
799 | 8.4053e-05 | 3.3197e-06
800 | 3.9454e-05 | 3.4832e-05
801 | 8.0709e-06 | 6.6524e-05
802 | 7.8036e-05 | 9.9603e-05
803 | 0.00013646 | 0.00012872
804 | 0.00011421 | 0.0001301
805 | 8.8521e-05 | 0.00012239
806 | 4.081e-05 | 5.6425e-05
807 | 7.2203e-06 | 1.0006e-05
808 | 5.7135e-05 | 7.9176e-05
809 | 0.00010351 | 0.0001352
810 | 0.00013051 | 0.00011926
811 | 0.00014048 | 0.00010611
812 | 6.3567e-05 | 0.00010723
813 | 0 | 0.00010837
814 | 0 | 0.00010966
815 | 1.0056e-05 | 0.00010054
816 | 6.5032e-05 | 4.4922e-05
817 | 0.0001097 | 0
818 | 0.00011106 | 0
819 | 0.00010078 | 0
820 | 4.4455e-05 | 0
821 | 1.246e-05 | 8.5864e-06
822 | 7.1563e-05 | 4.9316e-05
823 | 0.00011791 | 8.1289e-05
824 | 0.00011907 | 8.2219e-05
825 | 0.00010615 | 8.317e-05
826 | 4.5904e-05 | 8.4196e-05
827 | 0 | 7.4816e-05
828 | 0 | 3.2135e-05
829 | 1.5815e-05 | 0
830 | 7.9828e-05 | 0
photopic | 538.3269 | 398.2778
photopic 10° | -9999 | -9999
scotopic | 792.59 | 224.96
mesopic | -9999 | -9999
mesopic factor m | -9999 | -9999
photometric unit | lm | lm